## Sheet1
Component | Details | Inspection Interval | Who Conducts Inspection (or Performs Maintenance) | Financial Responsibility for Repair |  | Notes | HOA Cost estimate | Year to Budget for (or assess):
|  |  |  | Co-Owner | HOA
Light Posts and Common Element Light Fixtures | There are 7 lampposts and garage/alley lighting. | Every 5 years | HOA |  | X | Lampposts have a useful lifespan of 25 years. Other fixtures vary. Seven lampposts. | 7000 | 2026
Porch Lights at Unit Entries | Porch lights should be solid black and in keeping with the style of the architecture. A Mod Form is required to change light fixtures. | Annual | HOA | X |  | Co-Owners will be advised if their light needs maintenance.
Pipes, Subsurface Utilities (Gas, Water, Waste). | Cleanout for main waste lines | Bi-annually |  |  | X | Young's Plumbing (586-465-6666) | $4500 (Young's Plumbing) | 2026
Pipes, Subsurface Utilities (Gas, Water, Waste). | Six French drains | Every 2 years |  |  | X | G&S Window Washing and Gutter Service 248-593-8277 | 500 | 2027
Pipes, Subsurface Utilities (Gas, Water, Waste). | Back alley drains. | Every 2 years | Contractor |  | X | Young's Plumbing (586-465-6666) | 3083 | 2026
Pipes, Subsurface Utilities (Gas, Water, Waste). | There are 3 potable water systems ("Pits"): 520 and 498 Saint Clair, and 17107 Maumee | Every 5 years | Co-Owner to advise if problem noticed; HOA can inspect. Requires licensed plumber to make repairs. |  | X | It's important to note that when work is done on one of these systems, the water must be turned off at the street by the City. Larry Tucker/Young's Plumbing | $250 to inspect each "pit." | Valve repair at 520 St. Clair needed-- ~$11k+
Irrigation System | ~30,000 sq ft at the front yards with one controller (at 502 Saint Clair). The system is blown out and shut down each year. Repairs are made as needed | Annual | Contractor |  | X | There are tripods available, with timers, in the sheds for manual watering of the courtyards. Jason at LBI Sprinkler Services (586-405-6252) | ~$6600 to add system to front courtyards; ~$6800 to add to large back courtyard. Discount $1K if done at once
Concrete Stoops and Railings (Including Masonry Repairs) | There are 30 front entrance stoops and 13 single or shared rear entrance stoops. | Annual | HOA to inspect. Repairs made by contractor. |  | X | Concrete porches and steps have a useful life of up to 65 years with frequent repairs to masonry. Do not install aluminum railings! Conner's Welding (Mike 586-997-9944) Arkey's Welding (586-791-5640) Phil Pitters for porches/concrete 313-824-4442 | Depending on size, between $300-$400 for railing replacement. Stoop: ~$3200
Concrete Sidewalks | ~ 3700 sq ft. | Annual | HOA to inspect. Repairs made by contractor. |  | X | Sidewalks have up to 65 years useful life. Phil Pitters 313-824-4442 | ~$500 per sidewalk square to replace.
Concrete Pad for A/C Condenser | Camouflage (if necessary) and drainage away from walls are required. | Annual | HOA | X |  | All aspects of the central air conditioners are the responsibility of the Co-Owner. Co-Owners will be advised by HOA of A/C components needing attention.
Asphalt Pavement | ~1250 sq yards of pavement. Maintenance (crack repair and/or patching). | Annual | HOA to inspect. Repairs or replacement made by contractor. |  | X | Asphalt, when maintained, has a useful life of 15- to 20-years. It takes ~2 days to install and 2-3 days to cure. Curing is fastes in Spring and Fall. *1" mil in overlay lasts ~5-8 years, then repair cracking with rubber gun. | ~$50,000 (2025 quote - Peake Asphalt). Cameron Peake 586-254-4567 | 2027
Asphalt Pavement | Seal coating | Every 3-5 years | Contractor |  | X | Protects investment. Per Peake Asphalt, it's not much more than black paint. | N/A | N/A
Walls, Stucco, and Wood | ~2900 sq ft of stucco and wood | Annual | Contractor |  | X | Stucco was painted 3 or 4 years ago. Typical repairs or repainting are up to every 8+ years. | Eight units to scrape, repair, and paint $5500
Walls, Stucco, and Wood | Garage doors (wood). Replacement of a garage door requires a Mod Form. | Annual | Contractor/Co-Owner | X |  | Co-Owners will be advised if their wood garage needs repainting.
Walls, Masonry | There are ~31,300 sq ft of masonry walls. Tuckpointing and repairs are frequently needed. Includes garage walls and courtyard walls. | Annual | HOA |  | X | Due to the age of the masonry, we can expect significant repairs every year. Brickworks Property Restoration for tuckpointing 586-474-5620) | Averaging $6k per year
Walls, Masonry | Lintels (Structural supports above windows and doors) | Annual | HOA | X | X | If the lintels are sagging or broken, storm water can penetrate the walls. Thomas Kleiner Construction (313-88-2150) | Lintel repair/replace ~$3200
Walls, Fiber Cement Siding | ~3100 sq ft of siding at the dormers | Every 5 years | Contractor |  | X | The material has a useful life of up to 50 years with paint and/or partial replacements as needed. | As needed. No estimates available
Wood Front Entry Doors | The HOA will maintain, repair or replace the wood front entry door. | Annual | HOA | X |  | While the HOA will coordinate the repair and/or replacement of the front entry doors, the cost is born by the Co-Owner.
Wood Front Entry Doors--Locking Mechanisms, Handles, and Knobs on Both Sides of the Door |  |  |  | X |  | All responsibility for these components are with the Co-Owner.
Storm and Screen Doors | Co-Owners are responsible to maintain, repair or replace all aspects of any storm door. A Mod Form is required for a new installation. | Annual | HOA | X |  | Co-Owners will be advised if their storm door needs maintenance.
Back Entry Doors or Doorwalls | Co-Owners are responsible to maintain, repair or replace all aspects of back entry doors. A Mod Form is required for a new installation. | Annual | HOA | X |  | Co-Owners will be advised if their door needs maintenance.
Windows | Replacement windows require a Mod Form. |  | Co-Owner | X
Windows - Original 1929 | There are two original windows remaining (Units 6 and 29). |  |  | X | X | Repairs/maintenance is the responsibility of the HOA. The Co-Owner will be responsible to replace these windows when the unit is sold/changes hands. | As needed. No estimates available
Sealants, Windows and Doors | 8400 linear ft of exterior sealants or caulk | Annual | HOA | X |  | Caulking and sealants around doors and windows must match trim. Co-Owners will be advised if maintenance is needed.
Roofs, Thermoplastic (Garage) | There are 5 garage banks (bank 4 was redone in 2024). Patches can be applied as needed until the entire bank needs to be redone. | Every 5 years | Contractor |  | X | We have many garages that are leaking. This is a big expense that would likely be accomplished by special assessment(s). Roofing material is typically warranted for 20 years. Mpower. Pete (586-530-4687) | ~$100,000 | 2026
Roofs, Asphalt Shingles | Completed tear-off in 2025 | Every 5 years | Contractor |  | X | Was paid for by special assessments. Maintenance as needed for the next 20+ years. Schoenherr Roofing. (248-678-8141) | ~$420,000
Gutters and Downspouts, Aluminum | ~2800 linear ft of aluminum 6" gutters and 3 x 4" downspouts. Garages have ~500 linear ft. | Annual | HOA |  | X | Generally, replacement is timed with roofing (20+ years). | ~$100,000 (quote from Schoenherr Roofing)
Foundations, Capital Repairs | May include basement wall crack repairs, waterproofing, drain tile replacement and regrading of landscaping at building perimeters) | As needed | Co-Owner to advise if problem noticed; HOA can inspect. | X | X | Depending on the cause, it may be the responsibility of the Co-Owner (i.e. a modification by the Co-Owner that caused the problem). Homespec 877-815-8588 | $6400 waterproof (Exterior caulking can resolve many problems).
Decks, Wood/Wood Composite | There are 7 decks (4 are shared). Units 9, 10, 11, 12, 24, 25, and 26. Modifications require approval. | Annual | HOA | X |  | Co-Owners will be advised if their deck needs painting or safety repairs.
Modified Patios or Stoops | There are 14 brick patios: Units 2, 7, 12, 13, 14, 15, 17, 18, 19, 21, 22, 23, 28, and 29. Modifications require approval | Annual | HOA | X |  | Co-Owners will be advised if their patio needs repairs (releveling for safety, weeding for aesthetics, etc.)
Chimneys | There are 30 chimneys; eight of which are woodburning. Inspection of internal chimney and external tuckpointing. | Conduct in 2026, then every 5 years (internal inspection); tuckpointing as needed. | Contractor & HOA |  | X | Due to the age of the masonry, we can expect tuckpointing repairs every year. | ~$2000-$5000
Fireplaces - Wood Burning | There are 8 wood burning fireplaces. Units 1, 3, 7, 8, 11, 12, 29, and 30. Any repairs or replacements to the fireboxes, dampers, flues, chases, etc., (as stated in the 2nd Amended and Restated Master Deed) must receive prior written approval by the HOA (Mod Form). | Annual | Co-Owner | X |  | The Co-Owner is responsible to ensure their fireplace is safe to use. Regular cleaning and repairs as needed is critical for everyone (every two-three years, depending on use). Upon transfer of ownership, the fireplace must be removed or replaced with a gas fireplace. A Mod Form is required.
Landscaping | Trees, shrubs, and perennials. Modifications require approval. | Annual | HOA |  | X | TBD if HOA will have all trees and shrubs maintained going forward. Amezola for removal (586-298-4026). Camelot Tree and Shrub for pruning, removal, injecting (313-884-1699). Soulliere Landscaping (installations/French drains 586-776-2811). | As needed. No estimates available
Landscaping | Annual flowers |  |  | X |  | No modification form needed in pots or in ground (as long as non-invasive plants, and plants are not intruding on neighbors' space or common elements).
Co-Owners are reminded that after-the fact submission of a Mod Form may result in non-approval, and could require the Co-Owner to remove the modification.